## Feuille1
	day	start	stop	Trigger			Target	beam	Brho	intensity	CATS (In/out)	VAMOS	AGATA	comments
				MUGAST	VAMOS	CATS

Run 122	2019-04-13	06:31:00		1	%1000	%3000 ?	#3 (104 um)	14O	0,5199	4,00E+04	IN	OPEN	COUPLED
Run 121	X
Run 120	2019-04-13	04:16:00	06:20:00	1	%1000	%30000	#3 (104 um)	14O	0,5199	2,00E+04	IN	OPEN	COUPLED	Finger at + 12 mm
Run 119	2019-04-12	23:15:00	00:42:00	1	%1000	%30000	#3 (104 um)	14O	0,5199	6,00E+04	IN	OPEN	COUPLED	Finger at + 12 mm
Run 118	2019-04-12	22:40:00	23:02:00	1	%100	1 ?	#3 (104 um)	14O	0,5199	?	IN	OPEN	?	Finger at + 12 mm,moving Finger
Run 117	2019-04-12	22:32:00	22:40:00	1	%100	?	#3 (104 um)	14O	0,5199	?	IN	OPEN	?	Finger at + 12 mm,moving Finger
Run 116	2019-04-12	22:27:00	22:32:00	1	%100	?	#3 (104 um)	14O	0,5199	?	IN	OPEN	?
Run 115	2019-04-12	22:15:00	22:25:00	1	%100	?	#3 (104 um)	14O	0,5473	?	IN	OPEN	?	Stopping to change Brho
Run 114	2019-04-12	21:42:00	22:04:00	1	%100	?	NO	14O	0,6912	variable	IN	OPEN	?	test run
Run 113	2019-04-12	21:28:00	?	1	%100	?	hole	14O	0,6912	variable	IN	OPEN	?
Run 112	2019-04-12	21:13:00	21:20:00	1	%100	No	hole	14O	0,6912	variable	OUT	OPEN	?
Run 111	2019-04-12	20:57:00	21:04:00	1	%100	No	No	14O		variable	OUT	OPEN		useless run
Run 110	2019-04-12	20:33:00	20:46:00	1	%100	No	#2 (104 um)	14O	0,5283	variable	?	OPEN	?
Run 109	2019-04-12	17:13:00	?			AGATA								AGATA DAQ TEST
Run 108	2019-04-12	16:55:00	17:16:00			AGATA								AGATA DAQ TEST
Run 107	2019-04-12	16:46:00	16:48:00			AGATA								AGATA DAQ TEST
Run 106	2019-04-12	16:29:00	16:32:00			AGATA								AGATA DAQ TEST
Run 105	2019-04-12	16:21:00	16:24:00			AGATA								AGATA DAQ TEST
Run 104	2019-04-12	16:10:00	16:14:00			AGATA								AGATA DAQ TEST
Run 103	2019-04-12	15:54:00	?	1	%100	No	#2 (104 um)	14O	0,5283	increasing to 10 kHz	?	OPEN
Run 102	2019-04-12	15:00:00	15:11:00	1	%100	No	#2 (104 um)	14O	0,5283	increasing to 10 kHz	?	OPEN
Run 101	2019-04-12	14:51:00	14:56:00	1	%100	No	#2 (104 um)	14O	0,5283	increasing to 10 kHz	?	OPEN
Run 100	?
Run 99	2019-04-12	14:20:00	14:27:00	1	%100	No	#2 (104 um)	14O	0,5283	increasing to 10 kHz	?	OPEN
Run 98	2019-04-12	11:54:00	?	1	%100	No	#2 (104 um)	14O	0,5283	increasing to 10 kHz	?	OPEN		Reducing DC2_W from 650 to 620V
Run 97	2019-04-12	11:29:00	11:45:00	1	1	No	#2 (104 um)	14O	0,5283	Reduced to 300Hz	?	OPEN		Correct TAC T_FPMW PFMX fifo Pb with 50 Ohm terminator
Run 96	2019-04-12	10:36:00	11:16:00	1	1	No	#2 (104 um)	14O	0,5283	Reduced to 300Hz	?	OPEN		entering to change delay on T_FPMW_CATS2
Run 95	2019-04-12	10:09:00	10:33:00	1	1	No	#2 (104 um)	14O	0,5283	Reduced to 300Hz	?	OPEN		working inside G1 ?
Run 94	2019-04-12	09:41:00	10:11:00	1	1	No	#2 (104 um)	14O	0,5283	Reduced to 300Hz	?	OPEN
Run 93	2019-04-12	09:37:00	?	1	No	No	#2 (104 um)	14O	0,5283	Reduced to 300Hz	?	OPEN
Run 92	2019-04-12	09:33:00	09:37:00	1	No	No	#2 (104 um)	14O	0,5283	Reduced to 300Hz	?	OPEN		start did not start, after rebooting ganlx7
Run 91	2019-04-12	09:12:00	09:32:00	?	1	No	#2 (104 um)	14O	0,5283	Reduced to 300Hz	?	OPEN		After rebooting ganlx7
Run 90	2019-04-12	09:00:00	09:05:00	?	1	No	#2 (104 um)	14O	0,5283	Reduced to 300Hz	?	OPEN		Entering to reboot ganlx7
Run 89	?
Run 88	2019-04-12	06:24:00	08:37:00	MG Backwards + MG 90 + MUST2	No	%1000	#2 (104 um)	14O	0,6912	3,00E+04	IN	Closed	%100
Run 87	2019-04-12	02:20:00	06:23:00	MG Backwards + MG 90 + MUST2	No	%1000	#2 (104 um)	14O	0,6912	4,00E+04	IN	Closed	%100	First physics run
Run 86	2019-04-12	01:49:00	01:59:00	No	1	No	#1 hole	14O	0,6912	4,00E+04	IN	OPEN	?
Run 85	2019-04-12	01:37:00	?	No	1	No	#1 hole	14O	0,69186	4,00E+04	?	OPEN	?	aligning beam in VAMOS, restart after crash of the acquisition
Run 84	2019-04-12	01:25:00	?	No	1	No	#1 hole	14O	0,69186	4,00E+04	?	OPEN	?	aligning beam in VAMOS
Run 83	2019-04-11	19:54:00	20:56:00	No	1	No	No target	14O	0,69186	5,00E+03	?	OPEN	?	aligning beam in VAMOS, daq on for online monitoring 2Pi beam emittence 14O
Run 82	2019-04-11	19:49:00	19:54:00	No	1	No	No target	14O	0,69186	5,00E+03	?	OPEN	?	aligning beam in VAMOS, daq on for online monitoring 5Pi beam emittence 14O
Run 81	2019-04-11	19:09:00	19:49:00	No	1	No	No target	14O	0,69186	5,00E+03	?	OPEN	?	aligning beam
Run 80	2019-04-11	17:42:00	18:50:00	No	1	No	hole	14O	0,69186	5,00E+03	?	OPEN	?	after removing division ob CATS and VAMOS / aligning beam in VAMOS, daq on for online monitoring
Run 79	2019-04-11	17:08:00	17:31:00	No	%1000 ?	No	hole	14O	?	3,00E+03	IN	OPEN		entering to remove CATS2 and remove VAMOS%1000
Run 78	2019-04-11	16:55:00	17:07:00	1	No	No	hole	14O	?	3,00E+03	?	OPEN	?	changing trigger to VAMOS
Run 77	2019-04-11	08::54	10:08:00	1	%1000	%40000	#2 105 um	14N	0,437	2,20E+05	IN	OPEN	?	beam stopped for radioactive beam preparation
Run 76	2019-04-11	07:59:00	08:33:00	1	%1000	%40000	#2 105 um	14N	0,437	2,00E+05	IN	OPEN	?
Run 75	2019-04-11	06:40:00	07:29:00	1	%1000	%40000	#2 105 um	14N	0,437	2,00E+05	IN	OPEN	?
Run 74	2019-04-11	04:37:00	06:23:00	1	%1000	%40000	#2 105 um	14N	0,437	2,00E+05	IN	OPEN	?	First good data run
Run 73	2019-04-11	03:39:00	04:25:00	No	Yes	No	#2 105 um	14N	0,437	2,00E+04	IN	OPEN	?
Run 72	2019-04-11	03:16:00	?	No	Yes	No	#2 105 um	14N	0,486	2,00E+04	IN	OPEN	?
Run 71	2019-04-11	03:08:00	03:20:00	No	Yes	No	#2 105 um	14N	0,484	2,00E+04	IN	OPEN	?	changed the brho to move the beam out + lot of DAQ messages
Run 70	2019-04-11	02:57:00	63:05:00	No	Yes	No	#2 105 um	14N	0,51	2,00E+04	IN	OPEN	?	changed to Brho 0.51 Tm to move the beam out of the focal plane
Run 69	?
Run 68	2019-04-11	02:32:00	02:52:00	No	Yes	No	#2 105 um	14N	0,6405	2,00E+04	IN	OPEN	?
Run 67	2019-04-11	02:08:00	02:13:00	No	Yes	No	#5 73 um	14N	0,79067	2,00E+04	IN	OPEN	?
Run 66	2019-04-11	01:48:00	01:58:00	No	Yes	No	#4 73 um (Carbon)	14N	0,79067	2,00E+04	IN	OPEN	?
Run 65	2019-04-11	01:37:00	?	No	Yes	No	#4 73 um (Carbon)	14N	0,79067	2,00E+04	IN	OPEN	?
Run 64	2019-04-11	01:21:00	?	No	Yes	No	#3 100 um	14N	0,79067	2,00E+04	IN	OPEN	?	data ok for reference target thickness measurement + lot of DAQ messages
Run 63	2019-04-11	01:16:00	?	No	Yes	No	#3 100 um	14N	0,79067	2,00E+04	IN	OPEN	?	same as run 60 after DAQ Narval crash (DC not sending data)
Run 62	2019-04-11	01:08:00	?	No	Yes	No	#3 100 um	14N	0,79067	2,00E+04	IN	OPEN	?	Target inserted (100) and cats 2 in placinf Finger on the beam . / Vamos IC10 placed in IC12 electronics
Run 61	2019-04-11	01:04:00	?	No	Yes	No	#3 100 um	14N	0,79067	2,00E+04	IN	OPEN	?	Target inserted (100) and cats 2 in placinf Finger on the beam . / Vamos IC10 placed in IC12 electronics
Run 60	2019-04-11	00:59:00	?	No	Yes	No	#3 100 um	14N	0,79067	2,00E+04	IN	OPEN	?	Target inserted (100) and cats 2 in placinf Finger on the beam . / Vamos IC10 placed in IC12 electronics
Run 59	2019-04-11	00:27:00	00:49:00	No	Yes	No	#2 100 um	14N	0,79067	2,00E+04	IN	OPEN	?	Target inserted (100) and cats 2 in placinf Finger on the beam .
Run 58	2019-04-11	00:03:00	00:16:00	No	Yes	No	No	14N	0,79067	1,00E+03	IN	OPEN	?	Reference run without target and IC ok / Finger reduce 21kHz to 800 Hz / C6 E5-HO -1,5 / C6 E3-VE 0.5
Run 57	2019-04-10	23:56:00	00:00:00	No	Yes	No	No	14N	0,79067	1,00E+03	IN	OPEN	?	Reference run without target and IC ok / C6 E5-HO -1,5 / C6 E3-VE 0.5
Run 56	2019-04-10	23:30:00	23:55:00	No	Yes	No	No	14N	0,79067	1,00E+03	IN	OPEN	?	Reference run without target and IC ok / C6 E5-HO -1,5 / C6 E3-VE 0.5
Run 55		23:00:00	23:08:00	No	Yes	No	hole	14N	0,79067	1,00E+03	IN	OPEN	?	Reference run with target hole and IC ok / C6 E5-HO -1,5 / C6 E3-VE 0.5
Run 54	2019-04-10	22:40:00	22:59:00	No	Yes	No	Hole 7 mm	14N	0,79067	1,00E+03	IN	OPEN	?	Reference run with target hole and IC ok / C6 E5-HO -1,5 / C6 E3-VE 0.5
Run 53	2019-04-10	22:14:00	22:39:00	No	Yes	No	Hole 7 mm	14N	0,79067	1,00E+03	IN	OPEN	?	Reference run with target hole / C6 E5-HO -1,5 / C6 E3-VE 0.5
Run 52	2019-04-10	21:31:00	22:14:00	No	Yes	No	Hole 7 mm	14N	0,79067	1,00E+03	IN	OPEN	?	First run 14N
Run 51	2019-04-10	21:16:00	?	No	Yes	No	Hole 7 mm	14N	0,79067	1,00E+03	IN	OPEN	?	First run 14N
Run 50	2019-04-10	20:11:00	?	No	Yes	No	Hole 7 mm	14N	0,79067	1,00E+03	IN	OPEN	?	First run 14N
Run 40	2019-04-10	19:42:00	19:54:00	?	?	?	none	no				Closed	OK	Test ACQ AGATA
Run 26	2019-04-10	10:36:00	10:46:00	No	Yes	No	none	no				Closed		Pb with DC 63, Test ACQ
Run 25	2019-04-10	10:32:00	10:34:00	No	Yes	No	none	no				Closed		Pb with DC 63, Test ACQ
Run 24	2019-04-10	09:50:00	10:10:00	No	Yes	No	none	no				Closed		Pb with DC 63, Test ACQ
Run 16	2019-04-09	17:38:00	21:45:00	No	No	No	none	no			?		42	Tets E_Agata T_agata_HF change gain
Run 15	2019-04-09	17:28:00	17:38:00	No	No	No	none	no			?		42	Tets E_Agata T_agata_HF
Run 14	2019-04-09	16:10:00	16:25:00	Must2	No	No	none	no			?		?	test after DAQ crash. Restart narval
Run 9	2019-04-09	14:41:00	15:59:00	Must2	No	No	none	no			?		?	Time calibrator on MUGAST all detector using fsc 600 ns on Y S1
Run 8	2019-04-09	14:18:00	14:33:00	Must2	No	No	none	no			?		?	Time calibrator on MUGAST all detector using fsc 600 ns on Y S1
Run 7	2019-04-09	13:54:00	?	Must2	No	No	none	no			?		?	MUVI1, Time calibrator on MUGAST all detector using fsc 600 ns on Y S1
Run 6														MUVI3, Time calibrator
Run 5														MUVI3, Time calibrator
Run 4														MUVI2, Time calibrator
Run 3														MUVI2, Time calibrator
Run 2														MUVI1, Time calibrator
Run 1														MUVI1, Time calibrator